Specifications may vary depending on the syringe

3mL

Pipet up to 1mL or 1000 µL ± 10 µL

Adjust in increments of 100 µL

Tolerance ±10 µL

1mL Syringe

Pipet up to 350uL ± 1 µL

Adjust in increments of 10 µL

Tolerance ±1 µL

±